## Data Dictionary
Lab 9 — Data Types, Operational Definitions and the Data Collection Plan
Certified Lean Six Sigma Black Belt (CLSSBB) Training · TGS-2024051900 · Version v4
About this workbook
Raw 240-row MES extract of seal weld burst-pressure tests — deliberately messy, so you can write operational definitions that fix it.
This workbook contains REAL (simulated) process data for you to analyse.
Sheets in this workbook
Sheet | What it contains | Rows
RawExtract | Direct MES export, 240 tests, March 2026. Not cleaned. | 240
Column definitions
Sheet | Column | Definition / unit
RawExtract | UnitID | Serialised pump assembly
RawExtract | TestDate | Date of burst test
RawExtract | Plant | Singapore / Penang / Suzhou
RawExtract | Line | L1-L6
RawExtract | Shift | A / B / C
RawExtract | Inspector | Who ran the test
RawExtract | BurstPressure | kPa — the project Y. Spec 180-260
RawExtract | InspectionResult | As typed by the inspector — note the inconsistency
RawExtract | DefectMode | Populated only when the result is a fail
RawExtract | Comments | Free text
Specification limits used throughout this course
Project Y | Seal weld burst pressure
Unit | kPa
Lower spec limit (LSL) | 180
Target | 220
Upper spec limit (USL) | 260

## RawExtract
Direct MES export, 240 tests, March 2026. Not cleaned.
UnitID | TestDate | Plant | Line | Shift | Inspector | BurstPressure | InspectionResult | DefectMode | Comments
MMD-4101 | 2026-03-02 | Singapore | L6 | B | N. Faridah | 205.2 | PASS |  | re-test
MMD-4102 | 2026-03-03 | Suzhou | L4 | C | L. Wei | 202.01 | Pass |  | re-test
MMD-4103 | 2026-03-04 | Suzhou | L4 | C | L. Wei | 221.32 | FAIL | Firmware checksum fail
MMD-4104 | 2026-03-05 | Singapore | L5 | C | T. Chandra | 211.23 | PASS
MMD-4105 | 2026-03-06 | Suzhou | L5 | B | L. Wei | 209.29 | pass
MMD-4106 | 2026-03-07 | Suzhou | L2 | A | N. Faridah | 208.97 | PASS |  | re-test
MMD-4107 | 2026-03-08 | Penang | L4 | A | L. Wei | 217.01 | FAIL | Housing cosmetic scratch
MMD-4108 | 2026-03-09 | Singapore | L1 | B | J. Ortega | 242.64 | FAIL | Door latch stiff | re-test
MMD-4109 | 2026-03-10 | Singapore | L3 | C | N. Faridah | 213.16 | pass
MMD-4110 | 2026-03-11 | Suzhou | L4 | A | J. Ortega | 217.07 | Pass
MMD-4111 | 2026-03-12 | Singapore | L2 | C | T. Chandra | 237.09 | FAIL | Occlusion sensor drift
MMD-4112 | 2026-03-13 | Suzhou | L4 | B | L. Wei | 247.84 | pass
MMD-4113 | 2026-03-14 | Penang | L2 | B | L. Wei | 227.41 | FAIL | Housing cosmetic scratch
MMD-4114 | 2026-03-15 | Singapore | L4 | C | T. Chandra | 194.42 | pass |  | operator note: fixture reseated
MMD-4115 | 2026-03-16 | Penang | L4 | A | L. Wei | 194.29 | FAIL | Occlusion sensor drift | operator note: fixture reseated
MMD-4116 | 2026-03-17 | Singapore | L6 | A | J. Ortega | 226.62 | pass |  | operator note: fixture reseated
MMD-4117 | 2026-03-18 | Suzhou | L2 | B | T. Chandra | 207.25 | pass |  | re-test
MMD-4118 | 2026-03-19 | Penang | L5 | B | N. Faridah | 210.74 | pass
MMD-4119 | 2026-03-20 | Penang | L1 | B | J. Ortega | 218.25 | Pass
MMD-4120 | 2026-03-21 | Penang | L3 | B | L. Wei | 230.61 | PASS
MMD-4121 | 2026-03-22 | Suzhou | L1 | A | L. Wei | 195.96 | Pass
MMD-4122 | 2026-03-23 | Penang | L5 | B | N. Faridah | 201.36 | pass
MMD-4123 | 2026-03-24 | Singapore | L5 | B | J. Ortega | 225.42 | PASS
MMD-4124 | 2026-03-25 | Singapore | L5 | B | J. Ortega | 187.69 | FAIL | Label misprint
MMD-4125 | 2026-03-26 | Suzhou | L5 | C | N. Faridah | 227.03 | Pass
MMD-4126 | 2026-03-27 | Singapore | L6 | B | N. Faridah | 225.66 | pass |  | re-test
MMD-4127 | 2026-03-28 | Penang | L6 | C | T. Chandra | 230.73 | PASS |  | re-test
MMD-4128 | 2026-03-01 | Suzhou | L3 | C | L. Wei | 211.46 | pass
MMD-4129 | 2026-03-02 | Penang | L6 | A | J. Ortega | 214.32 | FAIL | Battery contact resistance | operator note: fixture reseated
MMD-4130 | 2026-03-03 | Singapore | L1 | A | L. Wei | 235.37 | pass |  | re-test
MMD-4131 | 2026-03-04 | Singapore | L1 | B | N. Faridah | 158.3 | PASS
MMD-4132 | 2026-03-05 | Suzhou | L6 | C | J. Ortega | 180.38 | pass |  | operator note: fixture reseated
MMD-4133 | 2026-03-06 | Singapore | L5 | A | N. Faridah | 150.05 | Pass
MMD-4134 | 2026-03-07 | Suzhou | L5 | C | N. Faridah | 220.62 | PASS
MMD-4135 | 2026-03-08 | Suzhou | L1 | C | J. Ortega | 217.85 | Pass
MMD-4136 | 2026-03-09 | Suzhou | L4 | B | J. Ortega | 226.24 | PASS
MMD-4137 | 2026-03-10 | Penang | L6 | A | L. Wei |  | pass |  | operator note: fixture reseated
MMD-4138 | 2026-03-11 | Penang | L2 | A | L. Wei | 188.4 | Pass |  | re-test
MMD-4139 | 2026-03-12 | Suzhou | L1 | C | T. Chandra | 174.84 | PASS |  | operator note: fixture reseated
MMD-4140 | 2026-03-13 | Singapore | L1 | A | T. Chandra | 195.69 | FAIL | Occlusion sensor drift
MMD-4141 | 2026-03-14 | Suzhou | L3 | B | T. Chandra | 224.66 | FAIL | Packaging insert missing
MMD-4142 | 2026-03-15 | Singapore | L2 | A | L. Wei | 218.54 | pass
MMD-4143 | 2026-03-16 | Singapore | L5 | B | N. Faridah | 222.52 | PASS
MMD-4144 | 2026-03-17 | Suzhou | L2 | C | J. Ortega | 234.97 | FAIL | Firmware checksum fail | operator note: fixture reseated
MMD-4145 | 2026-03-18 | Singapore | L1 | B | T. Chandra | 211.41 | FAIL | Battery contact resistance
MMD-4146 | 2026-03-19 | Suzhou | L4 | C | L. Wei | 233.83 | FAIL | Packaging insert missing
MMD-4147 | 2026-03-20 | Suzhou | L4 | C | J. Ortega | 232.74 | PASS |  | operator note: fixture reseated
MMD-4148 | 2026-03-21 | Suzhou | L6 | C | L. Wei | 206.31 | Pass
MMD-4149 | 2026-03-22 | Suzhou | L3 | B | J. Ortega | 210.2 | FAIL | Seal weld leak | re-test
MMD-4150 | 2026-03-23 | Penang | L4 | B | L. Wei | 210.51 | Pass |  | operator note: fixture reseated
MMD-4151 | 2026-03-24 | Penang | L3 | C | L. Wei | 228.04 | PASS |  | operator note: fixture reseated
MMD-4152 | 2026-03-25 | Suzhou | L6 | A | L. Wei | 217.79 | Pass |  | re-test
MMD-4153 | 2026-03-26 | Suzhou | L5 | C | N. Faridah | 233.63 | FAIL | Housing cosmetic scratch | re-test
MMD-4154 | 2026-03-27 | Suzhou | L2 | B | L. Wei | 231.65 | PASS
MMD-4155 | 2026-03-28 | Suzhou | L1 | A | J. Ortega | 206.91 | pass
MMD-4156 | 2026-03-01 | Suzhou | L6 | C | J. Ortega | 220.86 | FAIL | Battery contact resistance | re-test
MMD-4157 | 2026-03-02 | Suzhou | L4 | A | N. Faridah | 247.07 | pass
MMD-4158 | 2026-03-03 | Suzhou | L3 | B | T. Chandra | 209.84 | PASS |  | re-test
MMD-4159 | 2026-03-04 | Penang | L6 | A | J. Ortega | 239.02 | pass
MMD-4160 | 2026-03-05 | Penang | L1 | A | N. Faridah | 230.56 | PASS |  | re-test
MMD-4161 | 2026-03-06 | Suzhou | L5 | B | T. Chandra | 220.14 | FAIL | Seal weld leak | re-test
MMD-4162 | 2026-03-07 | Suzhou | L3 | A | N. Faridah | 186.41 | PASS
MMD-4163 | 2026-03-08 | Suzhou | L5 | C | J. Ortega | 218.17 | FAIL | Seal weld leak | operator note: fixture reseated
MMD-4164 | 2026-03-09 | Suzhou | L6 | B | J. Ortega | 1795.29 | FAIL | Housing cosmetic scratch
MMD-4165 | 2026-03-10 | Penang | L4 | A | N. Faridah | 227.44 | FAIL | Seal weld leak | re-test
MMD-4166 | 2026-03-11 | Penang | L6 | C | L. Wei | 194.77 | FAIL | Battery contact resistance
MMD-4167 | 2026-03-12 | Suzhou | L6 | B | N. Faridah | 218.7 | Pass |  | operator note: fixture reseated
MMD-4168 | 2026-03-13 | Singapore | L3 | A | T. Chandra | 230.66 | FAIL | Door latch stiff | re-test
MMD-4169 | 2026-03-14 | Singapore | L2 | B | J. Ortega | 202.89 | FAIL | Occlusion sensor drift
MMD-4170 | 2026-03-15 | Singapore | L6 | B | J. Ortega | 218.54 | Pass
MMD-4171 | 2026-03-16 | Singapore | L2 | C | L. Wei | 187.03 | Pass
MMD-4172 | 2026-03-17 | Suzhou | L2 | C | N. Faridah | 196.26 | pass |  | re-test
MMD-4173 | 2026-03-18 | Singapore | L5 | B | J. Ortega | 168.98 | Pass
MMD-4174 | 2026-03-19 | Singapore | L2 | B | T. Chandra | 215.69 | pass
MMD-4175 | 2026-03-20 | Singapore | L6 | C | J. Ortega | 202.96 | pass
MMD-4176 | 2026-03-21 | Penang | L2 | A | J. Ortega | 222.65 | FAIL | Door latch stiff
MMD-4177 | 2026-03-22 | Penang | L4 | C | J. Ortega | 210.59 | pass
MMD-4178 | 2026-03-23 | Singapore | L1 | B | L. Wei | 207.95 | pass
MMD-4179 | 2026-03-24 | Singapore | L5 | B | L. Wei | 203.92 | PASS
MMD-4180 | 2026-03-25 | Singapore | L4 | B | N. Faridah | 195.78 | PASS
MMD-4181 | 2026-03-26 | Singapore | L4 | B | L. Wei | 225.2 | FAIL | Battery contact resistance
MMD-4182 | 2026-03-27 | Suzhou | L3 | A | T. Chandra | 200.42 | pass
MMD-4183 | 2026-03-28 | Penang | L1 | C | N. Faridah | 181.18 | pass
MMD-4184 | 2026-03-01 | Suzhou | L5 | B | L. Wei | 199.94 | FAIL | Battery contact resistance | re-test
MMD-4185 | 2026-03-02 | Suzhou | L1 | A | T. Chandra | 166.71 | FAIL | Firmware checksum fail
MMD-4186 | 2026-03-03 | Singapore | L2 | C | J. Ortega | 161.94 | pass
MMD-4187 | 2026-03-04 | Singapore | L5 | C | N. Faridah | 198.64 | FAIL | Door latch stiff | re-test
MMD-4188 | 2026-03-05 | Suzhou | L5 | C | N. Faridah | 231.2 | FAIL | Housing cosmetic scratch
MMD-4189 | 2026-03-06 | Suzhou | L6 | C | T. Chandra | 211.77 | Pass
MMD-4190 | 2026-03-07 | Suzhou | L4 | B | T. Chandra | 198.07 | FAIL | Housing cosmetic scratch
MMD-4191 | 2026-03-08 | Singapore | L4 | A | L. Wei | 189.36 | FAIL | Battery contact resistance | operator note: fixture reseated
MMD-4192 | 2026-03-09 | Penang | L3 | C | N. Faridah | 208.57 | pass |  | re-test
MMD-4193 | 2026-03-10 | Penang | L2 | C | N. Faridah | -212.4 | pass
MMD-4194 | 2026-03-11 | Singapore | L2 | A | J. Ortega | 233.06 | PASS
MMD-4195 | 2026-03-12 | Singapore | L5 | A | L. Wei | 227.99 | pass
MMD-4196 | 2026-03-13 | Singapore | L1 | B | T. Chandra | 236.96 | Pass
MMD-4197 | 2026-03-14 | Suzhou | L5 | B | T. Chandra | 229.09 | PASS
MMD-4198 | 2026-03-15 | Suzhou | L4 | A | L. Wei | 267.31 | pass
MMD-4199 | 2026-03-16 | Suzhou | L4 | B | T. Chandra | 207.5 | Pass
MMD-4200 | 2026-03-17 | Penang | L5 | B | N. Faridah | 191.23 | FAIL | Battery contact resistance
MMD-4201 | 2026-03-18 | Suzhou | L4 | C | J. Ortega | 219.6 | PASS
MMD-4202 | 2026-03-19 | Singapore | L3 | B | L. Wei | 195.51 | pass
MMD-4203 | 2026-03-20 | Singapore | L6 | B | J. Ortega | 211.65 | Pass
MMD-4204 | 2026-03-21 | Singapore | L3 | C | N. Faridah | 230.42 | pass |  | re-test
MMD-4205 | 2026-03-22 | Penang | L6 | B | L. Wei | 209.36 | Pass
MMD-4206 | 2026-03-23 | Singapore | L6 | B | N. Faridah | 225.19 | pass
MMD-4207 | 2026-03-24 | Penang | L1 | C | T. Chandra | 222.73 | FAIL | Occlusion sensor drift
MMD-4208 | 2026-03-25 | Suzhou | L1 | B | T. Chandra | 209.8 | FAIL | Housing cosmetic scratch
MMD-4209 | 2026-03-26 | Singapore | L1 | B | J. Ortega | 230.33 | FAIL | Occlusion sensor drift | operator note: fixture reseated
MMD-4210 | 2026-03-27 | Penang | L6 | A | L. Wei | 226.75 | pass |  | operator note: fixture reseated
MMD-4211 | 2026-03-28 | Suzhou | L4 | B | J. Ortega | 195.14 | pass
MMD-4212 | 2026-03-01 | Suzhou | L2 | B | N. Faridah | 216.68 | Pass |  | re-test
MMD-4213 | 2026-03-02 | Penang | L6 | B | N. Faridah | 212.09 | FAIL | Firmware checksum fail
MMD-4214 | 2026-03-03 | Penang | L6 | A | T. Chandra | 209.32 | Pass
MMD-4215 | 2026-03-04 | Suzhou | L2 | C | J. Ortega | 174.5 | Pass
MMD-4216 | 2026-03-05 | Singapore | L5 | C | J. Ortega | 208.84 | FAIL | Door latch stiff | operator note: fixture reseated
MMD-4217 | 2026-03-06 | Singapore | L3 | A | T. Chandra | 213.59 | FAIL | Door latch stiff | operator note: fixture reseated
MMD-4218 | 2026-03-07 | Penang | L3 | A | L. Wei |  | FAIL | Occlusion sensor drift
MMD-4219 | 2026-03-08 | Penang | L1 | A | L. Wei | 221.21 | FAIL | Firmware checksum fail
MMD-4220 | 2026-03-09 | Singapore | L2 | A | N. Faridah | 227.33 | Pass
MMD-4221 | 2026-03-10 | Singapore | L4 | A | T. Chandra | 204.14 | pass |  | operator note: fixture reseated
MMD-4222 | 2026-03-11 | Penang | L4 | A | T. Chandra | 154.71 | pass
MMD-4223 | 2026-03-12 | Penang | L6 | A | T. Chandra | 225.49 | PASS
MMD-4224 | 2026-03-13 | Singapore | L1 | B | J. Ortega | 175.41 | PASS |  | re-test
MMD-4225 | 2026-03-14 | Suzhou | L3 | A | J. Ortega | 218.4 | FAIL | Occlusion sensor drift | operator note: fixture reseated
MMD-4226 | 2026-03-15 | Suzhou | L3 | B | J. Ortega | 254.13 | pass
MMD-4227 | 2026-03-16 | Penang | L6 | A | N. Faridah | 201.04 | PASS
MMD-4228 | 2026-03-17 | Suzhou | L4 | A | N. Faridah | 172.86 | Pass |  | operator note: fixture reseated
MMD-4229 | 2026-03-18 | Suzhou | L4 | C | T. Chandra | 232.98 | Pass
MMD-4230 | 2026-03-19 | Singapore | L5 | B | L. Wei | 206 | FAIL | Housing cosmetic scratch | operator note: fixture reseated
MMD-4231 | 2026-03-20 | Suzhou | L6 | C | J. Ortega | 224.2 | FAIL | Housing cosmetic scratch
MMD-4232 | 2026-03-21 | Penang | L1 | C | J. Ortega | 201.68 | FAIL | Label misprint
MMD-4233 | 2026-03-22 | Penang | L6 | B | T. Chandra | 206.92 | Pass
MMD-4234 | 2026-03-23 | Penang | L2 | B | L. Wei | 189.99 | FAIL | Firmware checksum fail | operator note: fixture reseated
MMD-4235 | 2026-03-24 | Suzhou | L4 | B | J. Ortega | 217.67 | PASS
MMD-4236 | 2026-03-25 | Singapore | L1 | B | J. Ortega | 214.68 | FAIL | Label misprint
MMD-4237 | 2026-03-26 | Penang | L1 | B | J. Ortega | 203.7 | FAIL | Label misprint | operator note: fixture reseated
MMD-4238 | 2026-03-27 | Suzhou | L5 | B | T. Chandra | 239.04 | PASS
MMD-4239 | 2026-03-28 | Suzhou | L4 | A | N. Faridah | 191.62 | pass |  | re-test
MMD-4240 | 2026-03-01 | Singapore | L5 | C | N. Faridah | 216.45 | PASS
MMD-4241 | 2026-03-02 | Suzhou | L1 | B | L. Wei | 231.13 | pass
MMD-4242 | 2026-03-03 | Penang | L1 | C | T. Chandra | 176.29 | FAIL | Label misprint
MMD-4243 | 2026-03-04 | Penang | L1 | A | T. Chandra | 205.39 | pass
MMD-4244 | 2026-03-05 | Singapore | L2 | C | N. Faridah | 219.38 | Pass
MMD-4245 | 2026-03-06 | Singapore | L5 | A | J. Ortega | 245.85 | pass
MMD-4246 | 2026-03-07 | Suzhou | L5 | B | J. Ortega | 269.02 | FAIL | Seal weld leak | operator note: fixture reseated
MMD-4247 | 2026-03-08 | Singapore | L6 | C | T. Chandra | 198.58 | pass
MMD-4248 | 2026-03-09 | Suzhou | L3 | C | J. Ortega | 233.34 | FAIL | Occlusion sensor drift | re-test
MMD-4249 | 2026-03-10 | Singapore | L6 | A | N. Faridah | 219.42 | FAIL | Packaging insert missing
MMD-4250 | 2026-03-11 | Singapore | L2 | B | L. Wei | 232.29 | Pass |  | operator note: fixture reseated
MMD-4251 | 2026-03-12 | Penang | L3 | B | J. Ortega | 230.23 | FAIL | Firmware checksum fail | operator note: fixture reseated
MMD-4252 | 2026-03-13 | Penang | L1 | C | N. Faridah | 217.72 | FAIL | Label misprint
MMD-4253 | 2026-03-14 | Suzhou | L6 | B | T. Chandra | 190.09 | Pass |  | re-test
MMD-4254 | 2026-03-15 | Singapore | L5 | A | J. Ortega | 170.22 | Pass |  | operator note: fixture reseated
MMD-4255 | 2026-03-16 | Suzhou | L4 | A | T. Chandra | 2017.38 | PASS
MMD-4256 | 2026-03-17 | Suzhou | L2 | C | J. Ortega | 242.4 | FAIL | Occlusion sensor drift | operator note: fixture reseated
MMD-4257 | 2026-03-18 | Penang | L3 | C | L. Wei | 191.87 | pass |  | re-test
MMD-4258 | 2026-03-19 | Penang | L6 | C | N. Faridah | 224.67 | FAIL | Packaging insert missing
MMD-4259 | 2026-03-20 | Suzhou | L2 | C | J. Ortega | 257.37 | PASS
MMD-4260 | 2026-03-21 | Suzhou | L5 | C | T. Chandra | 223.91 | PASS |  | operator note: fixture reseated
MMD-4261 | 2026-03-22 | Penang | L6 | C | N. Faridah | 215.44 | Pass |  | operator note: fixture reseated
MMD-4262 | 2026-03-23 | Suzhou | L3 | A | T. Chandra | 232.79 | pass
MMD-4263 | 2026-03-24 | Suzhou | L1 | A | N. Faridah | 244.87 | FAIL | Battery contact resistance | operator note: fixture reseated
MMD-4264 | 2026-03-25 | Penang | L5 | B | L. Wei | 197.33 | pass |  | re-test
MMD-4265 | 2026-03-26 | Penang | L5 | C | J. Ortega | 247.21 | Pass |  | re-test
MMD-4266 | 2026-03-27 | Penang | L5 | C | L. Wei | 222.31 | pass
MMD-4267 | 2026-03-28 | Penang | L2 | A | T. Chandra | 202.57 | Pass
MMD-4268 | 2026-03-01 | Penang | L1 | C | J. Ortega | 200.31 | pass
MMD-4269 | 2026-03-02 | Penang | L4 | B | J. Ortega | 199.48 | FAIL | Packaging insert missing | re-test
MMD-4270 | 2026-03-03 | Singapore | L6 | C | L. Wei | 212.35 | PASS
MMD-4271 | 2026-03-04 | Penang | L3 | C | L. Wei | 206.88 | Pass |  | operator note: fixture reseated
MMD-4272 | 2026-03-05 | Suzhou | L1 | B | N. Faridah | 203.97 | FAIL | Battery contact resistance | re-test
MMD-4273 | 2026-03-06 | Suzhou | L1 | C | T. Chandra | 213 | PASS
MMD-4274 | 2026-03-07 | Singapore | L2 | A | N. Faridah | 195.4 | PASS
MMD-4275 | 2026-03-08 | Penang | L6 | A | J. Ortega | 224.35 | Pass |  | operator note: fixture reseated
MMD-4276 | 2026-03-09 | Suzhou | L3 | C | J. Ortega | 204.89 | FAIL | Battery contact resistance
MMD-4277 | 2026-03-10 | Singapore | L3 | A | J. Ortega | 204.89 | PASS
MMD-4278 | 2026-03-11 | Singapore | L5 | A | T. Chandra | 211.84 | pass
MMD-4279 | 2026-03-12 | Singapore | L3 | B | T. Chandra | 196.68 | pass |  | operator note: fixture reseated
MMD-4280 | 2026-03-13 | Penang | L4 | C | N. Faridah | 235.68 | pass
MMD-4281 | 2026-03-14 | Penang | L6 | A | J. Ortega | 216.93 | PASS |  | re-test
MMD-4282 | 2026-03-15 | Penang | L2 | A | T. Chandra | 203.62 | PASS |  | re-test
MMD-4283 | 2026-03-16 | Singapore | L4 | B | N. Faridah | 240.85 | PASS
MMD-4284 | 2026-03-17 | Suzhou | L2 | B | L. Wei | 202.67 | FAIL | Battery contact resistance
MMD-4285 | 2026-03-18 | Singapore | L1 | A | J. Ortega | 187.74 | pass
MMD-4286 | 2026-03-19 | Singapore | L4 | C | N. Faridah | 216.77 | PASS
MMD-4287 | 2026-03-20 | Penang | L4 | A | T. Chandra | 218.02 | pass |  | re-test
MMD-4288 | 2026-03-21 | Suzhou | L5 | A | L. Wei | 164.16 | Pass |  | re-test
MMD-4289 | 2026-03-22 | Singapore | L5 | C | J. Ortega | 231.92 | PASS
MMD-4290 | 2026-03-23 | Suzhou | L4 | B | J. Ortega | 248.44 | PASS |  | re-test
MMD-4291 | 2026-03-24 | Suzhou | L3 | A | J. Ortega | 241.61 | pass |  | re-test
MMD-4292 | 2026-03-25 | Suzhou | L1 | C | N. Faridah | 197.77 | pass |  | re-test
MMD-4293 | 2026-03-26 | Singapore | L2 | B | L. Wei | 231.53 | PASS
MMD-4294 | 2026-03-27 | Suzhou | L6 | A | N. Faridah | 207.07 | pass |  | re-test
MMD-4295 | 2026-03-28 | Penang | L6 | A | N. Faridah | 208.98 | FAIL | Occlusion sensor drift
MMD-4296 | 2026-03-01 | Suzhou | L6 | C | L. Wei | 206.25 | Pass
MMD-4297 | 2026-03-02 | Singapore | L2 | C | L. Wei | 177.53 | FAIL | Occlusion sensor drift
MMD-4298 | 2026-03-03 | Singapore | L1 | B | L. Wei | 244.7 | FAIL | Housing cosmetic scratch | re-test
MMD-4299 | 2026-03-04 | Singapore | L3 | A | T. Chandra | 210.25 | FAIL | Door latch stiff
MMD-4300 | 2026-03-05 | Penang | L5 | B | J. Ortega | 224.56 | PASS
MMD-4301 | 2026-03-06 | Suzhou | L4 | A | L. Wei |  | Pass |  | operator note: fixture reseated
MMD-4302 | 2026-03-07 | Suzhou | L5 | C | N. Faridah | 208.69 | FAIL | Label misprint
MMD-4303 | 2026-03-08 | Singapore | L4 | A | J. Ortega | 178.12 | FAIL | Label misprint
MMD-4304 | 2026-03-09 | Penang | L2 | A | T. Chandra | 228.06 | FAIL | Housing cosmetic scratch
MMD-4305 | 2026-03-10 | Suzhou | L5 | A | N. Faridah | 213.83 | PASS
MMD-4306 | 2026-03-11 | Singapore | L4 | C | L. Wei | 274.05 | FAIL | Label misprint | operator note: fixture reseated
MMD-4307 | 2026-03-12 | Suzhou | L5 | A | J. Ortega | 170.32 | Pass
MMD-4308 | 2026-03-13 | Singapore | L1 | B | J. Ortega | 186.81 | pass
MMD-4309 | 2026-03-14 | Singapore | L2 | C | J. Ortega | 239.12 | Pass
MMD-4310 | 2026-03-15 | Suzhou | L4 | B | T. Chandra | 269.97 | Pass
MMD-4311 | 2026-03-16 | Penang | L6 | B | L. Wei | 213.47 | pass |  | operator note: fixture reseated
MMD-4312 | 2026-03-17 | Singapore | L6 | B | N. Faridah | 216.17 | pass
MMD-4313 | 2026-03-18 | Singapore | L1 | B | T. Chandra | 197.4 | FAIL | Label misprint
MMD-4314 | 2026-03-19 | Penang | L3 | C | L. Wei | 195.65 | pass
MMD-4315 | 2026-03-20 | Singapore | L4 | C | L. Wei | 227.95 | pass |  | re-test
MMD-4316 | 2026-03-21 | Suzhou | L4 | B | T. Chandra | 204.94 | PASS
MMD-4317 | 2026-03-22 | Singapore | L1 | B | T. Chandra | 199.46 | FAIL | Firmware checksum fail
MMD-4318 | 2026-03-23 | Suzhou | L1 | B | J. Ortega | 222 | FAIL | Label misprint | re-test
MMD-4319 | 2026-03-24 | Suzhou | L4 | A | N. Faridah | 236.45 | pass
MMD-4320 | 2026-03-25 | Singapore | L5 | C | J. Ortega | 218.62 | FAIL | Battery contact resistance
MMD-4321 | 2026-03-26 | Penang | L6 | B | N. Faridah | 217.26 | PASS
MMD-4322 | 2026-03-27 | Penang | L4 | A | T. Chandra | 191.1 | FAIL | Label misprint
MMD-4323 | 2026-03-28 | Penang | L5 | B | J. Ortega | 239.69 | Pass
MMD-4324 | 2026-03-01 | Singapore | L1 | A | N. Faridah | 197.75 | FAIL | Housing cosmetic scratch | re-test
MMD-4325 | 2026-03-02 | Suzhou | L3 | B | N. Faridah | 215.51 | PASS |  | operator note: fixture reseated
MMD-4326 | 2026-03-03 | Suzhou | L4 | B | L. Wei | 220.69 | FAIL | Seal weld leak | re-test
MMD-4327 | 2026-03-04 | Singapore | L3 | A | T. Chandra | 200.87 | pass
MMD-4328 | 2026-03-05 | Singapore | L4 | A | N. Faridah | 209.63 | pass |  | operator note: fixture reseated
MMD-4329 | 2026-03-06 | Singapore | L2 | A | J. Ortega | 240.18 | PASS |  | operator note: fixture reseated
MMD-4330 | 2026-03-07 | Suzhou | L4 | B | N. Faridah | 177.04 | PASS
MMD-4331 | 2026-03-08 | Singapore | L2 | C | J. Ortega | 252.03 | FAIL | Firmware checksum fail
MMD-4332 | 2026-03-09 | Suzhou | L5 | B | L. Wei | 201.65 | FAIL | Firmware checksum fail | operator note: fixture reseated
MMD-4333 | 2026-03-10 | Suzhou | L4 | C | J. Ortega | 208.94 | FAIL | Battery contact resistance
MMD-4334 | 2026-03-11 | Penang | L6 | A | L. Wei | 225.33 | Pass
MMD-4335 | 2026-03-12 | Penang | L5 | C | T. Chandra | 234.78 | PASS
MMD-4336 | 2026-03-13 | Suzhou | L1 | C | L. Wei | 184.18 | FAIL | Occlusion sensor drift | re-test
MMD-4337 | 2026-03-14 | Penang | L5 | C | L. Wei | 253.69 | pass |  | operator note: fixture reseated
MMD-4338 | 2026-03-15 | Penang | L3 | B | T. Chandra | 239.36 | FAIL | Packaging insert missing
MMD-4339 | 2026-03-16 | Suzhou | L1 | A | L. Wei | 171.52 | PASS |  | re-test
MMD-4340 | 2026-03-17 | Penang | L1 | B | T. Chandra | 211.76 | FAIL | Firmware checksum fail