## Data Dictionary
Lab 26 — FMEA, Pilot Design and Implementation Planning — In Depth
Certified Lean Six Sigma Black Belt (CLSSBB) Training · TGS-2024051900 · Version v4
About this workbook
A process FMEA worksheet pre-loaded with the seven real failure modes from this project — you score Severity, Occurrence and Detection and compute the RPN.
This workbook is a TEMPLATE. The blank columns are the ones you complete during the lab.
Sheets in this workbook
Sheet | What it contains | Rows
FMEA | Fill the blank scoring columns during the lab. Scale 1-10 each. | 7
Column definitions
Sheet | Column | Definition / unit
FMEA | ProcessStep
FMEA | FailureMode
FMEA | Effect
FMEA | SEV | YOU score 1-10
FMEA | Cause
FMEA | OCC | YOU score 1-10
FMEA | CurrentControls
FMEA | DET | YOU score 1-10
FMEA | RPN | YOU compute: SEV x OCC x DET
Specification limits used throughout this course
Project Y | Seal weld burst pressure
Unit | kPa
Lower spec limit (LSL) | 180
Target | 220
Upper spec limit (USL) | 260

## FMEA
Fill the blank scoring columns during the lab. Scale 1-10 each.
ProcessStep | FailureMode | Effect | SEV | Cause | OCC | CurrentControls | DET | RPN
Seal weld | Weld does not fuse fully | Unit leaks in the field, drug dose interrupted |  | Clamp pressure below 44 bar |  | Operator visual check only
Seal weld | Weld burnt through | Housing cracks, unit scrapped |  | Dwell time above 3.0 s |  | In-process burst test, sample only
Fixture | Clamp pressure drifts during shift | Burst pressure falls below LSL |  | No pressure gauge interlock |  | None — drift is invisible
Electrode | Tip wears past service limit | Weld energy drops, burst pressure falls |  | No stroke counter on the welder |  | Detected only at burst test
Seal ring | Out-of-spec durometer received | Seal does not compress correctly |  | Sample-only incoming inspection |  | Incoming AQL sample
Burst test rig | Rig reads high after calibration drift | Bad units pass |  | 12-month calibration interval |  | Annual calibration only
Shift handover | Recipe change not communicated | Wrong settings run for a full shift |  | Verbal handover, nothing written |  | None